Appendix E – Summary of Markup1 Pages for UFGS 02 56 13 – Waste Containment Geomembrane for Wastewater Treatment Plant Lagoon Liner System

| Topic | Page | Edit Options | Comments | References |
| --- | --- | --- | --- | --- |
| Paragraph 1.4 Submittals | 5 | Mark SD-02 as-built drawings “G” |  |  |
| Paragraph 1.4 Submittals | 5 | Mark SD-02 installer’s qualification as “G” |  |  |
| Paragraph 1.4 Submittals | 6 | Mark SD-02 certified QC test results as “G” |  |  |
| Paragraph 1.5 Qualifications | 6 | Complete blanks (SI units) in this paragraph |  |  |
| Paragraph 1.7 Weather limitations | 8 | Strike US customary units |  |  |
| Paragraph 2.1 Materials | 8 | Fill blank based on design |  |  |
| Paragraph 2.1 Materials | 9 | Fill blank based on design |  |  |
| Paragraph 2.1 Materials | 10 | Fill blanks in Table 1 (SI) |  |  |
| Paragraph 2.1 Materials | 15 | Fill blanks in Table 2 (SI) if required |  |  |
| Paragraph 2.1 Materials | 17 | Fill blanks in Table 3 (SI) |  |  |
| Paragraph 2.1 Materials | 19-21 | Strike out Tables 4-5 |  |  |
| Paragraph 2.2 Test, inspections and verifications | 21 | Fill blanks based on design |  |  |
| Paragraph 3.1 Preparation | 22 | Fill blanks based on design |  |  |
| Paragraph 3.4 Samples | 24 | Fill blanks |  |  |
| Paragraph 3.5 Tests | 25 | Fill blanks |  |  |
| Paragraph 3.8 Penetrations | 26 | Fill blanks |  |  |

Notes:	1. Guide specifications shall be edited to remove notes (contained between asterisks), blanks and U.S. customary units