US Army Corps of Engineers

Afghanistan Engineer District

AED	Design	Requirements:

Site Layout Guidance

Various Locations, Afghanistan

September 2015

TABLE OF CONTENTS

AED DESIGN REQUIREMENTS FOR

SITE LAYOUT GUIDANCE VARIOUS LOCATIONS, AFGHANISTAN

Section	Page

1.  General                                                                                                                     1

2.  Site Layout                                                                                                               1

3.  Building Location                                                                                                    1

a)  Dimensional Factors                                                                                                 1 b)  Environmental Factors                                                                                              1 c)  Orientation Factors                                                                                                   1 d)  Other Siting Factors                                                                                                  1

4.  Vehicular Circulation                                                                                             1

a) Access Intersections                                                                                                   2 b) Controlled Entrances                                                                                                 3 c) Sight Distances                                                                                                          3

5.  Parking                                                                                                                     4

6.  Pedestrian Circulation                                                                                            4

7.  Utility System Design                                                                                              5

a) Utility Separation                                                                                                       5

8.  Physical Security                                                                                                     6

B-1.1 Standard 1.  Standoff Distance	 6 B-1.1.1 Conventional Construction Standoff Distances	13 B-1.1.2 Minimum Standoff Distance	 13 B-1.1.3 Distances Between Conventional and Minimum Standoff Distances	 13

B-1.1.4 Inhabited Building Partially Exempt from Standard 1	14

B-1.1.5 Controlled Perimeter Standoff Distance	14

B-1.1.6 Parking and Roadways Standoff Distances	14

B-1.1.6.1 New Buildings	14

B-1.1.6.2 Existing Buildings	14

B-1.1.7 Parking of Emergency, Command, and Operations Support Vehicles	15

B-1.1.8 Parking of Mobile Ground Tactical Platforms	16

B-1.1.9 Parking for Handicapped Personnel	16

B-1.1.10 Parking and Roadway Projects	16

B-1.1.11 Standoff to Entry Control Facilities/Access Control Points	16

B-1.1.12 Location of Trash Containers	16

B-1.1.13 Adjacent Existing Buildings	17

B-1.2 Standard 2, Unobstructed Space	17

B-1.2.1 Controlled Parking	18

B-1.2.2 Electrical and Mechanical Equipment	18

B-1.2.3 Equipment and Trash Container Enclosures	18

B-1.2.4 Fuel Tanks	18

B-1.2.5 Parking Within Unobstructed Spaces	18

B-1.2.6 Adjacent Existing Buildings	18

B-1.2.7 Adjacent Uncontrolled Public Space	18

B-1.3 Standard 3. Drive-up/Drop-Off Areas	19

B-1.3.1 Marking	19

B-1.3.2 Unattended Vehicles	19

B-1.3.3 Location	19

B-1.4 Standard 4. Access Roads	19

B-2 Structural Design	19

B-2.1 Standard 6. Progressive Collapse Resistance	19

B-2.1.1 Progressive Collapse Avoidance Design Requirements	20

B-2.1.2 Uncontrolled Public Access	20

B-2.2 Standard 7. Structural Isolation	20

B-2.2.1 Building Additions	20

B-2.2.2 Portions of Buildings	20

B-2.2.3 Standard 8. Building Overhangs and Breezeways	21

B-2.2.4 Parking and Roadway Restrictions	21

B-2.2.5 Building Elements	21

B-2.3 Standard 9. Exterior Masonry Walls	21

B-2.2.4 Parking and Roadway Restrictions	21

B-2.2.5 Building Elements	21

B-2.3 Standard 9. Exterior Masonry Walls	21

B-2.3.1 New Buildings	21

B-2.3.2 Existing Building	21

B-3 Standard 13. Mail Rooms and Loading Docks	21

B-3.1 Locations	22

B-3.2 Proximity	22

B-4 Standard 14. Roof Access	22

B-4.1 New Buildings	22

B-4.2 Existing Buildings	22

B-5 Standard 15. Overhead Mounted Architectural Features	22

B-6 Electrical and Mechanical Design	22

B-6.1 Standard 16. Air Intakes	22

B-6.1.1 New Buildings	23

B-6.1.2 Existing Buildings	23

B-6.1.3 HVAC Replacement and Upgrades	23

B-6.1.4 Interior Walls and Doors in Equipment Rooms	23

B-6.2 Standard 17. Mail Rooms and Loading Dock Ventilation	23

B-6.2.1 Other Heating and Cooling Systems	23

B-6.2.2 Dedicated Exhaust Systems	23

B-6.2.3 Outside Intakes, Relief, and Exhausts	23

B-6.2.4 Isolation Controls	23

B-6.2.5 Walls and Ceiling Joints and Doors	24

B-6.3 Standard 18. Emergency Air Distribution Shutoff	24

B-6.3.1 Outside Air Intakes, Relief Air, and Exhausts	24

B-6.3.2 Critical Areas	24

B-6.3.3 Fan Coil Unit Heaters and Air Conditioners	24

B-6.3.4 HVAC Replacements and Upgrades	24

B-6.4 Standard 19. Equipment Bracing	24

B-6.5 Standard 20. Under Building Access	25

B-6.6 Standard 21. Mass Notificaiton	25

B-6.6.1 New Buildings	25

B-6.6.2 Existing Buildings	25

9.  As-Builts                                                                                                                 25

Figures

Figure 1.  Standoff Distance – Controlled Perimeter	8

Figure 2.  Standoff Distance – No Controlled Perimeter	8

Figure 3.  Parking and Roadway Control for Existing Buildings	9

– Controlled Perimeter

Figure 4.  Parking and Roadway Control for Existing Buildings	9

- No Controlled Perimeter

Tables

Table 1.  Dimensions for Design Vehicles	2

Table 2.  Minimum Turning Radii for Design Vehicles	2

Table 3.  Minimum Drive Spacing for Arterial Roads with Limited Access	3

Table 4.  Minimum Sight Distance	3

Table B-1.  Standoff Distances for New and Existing Buildings	7

Table B-2.  Conventional Construction Standoff Distances	8

Table C-1.  Conventional Construction Parameters	9

Table C-3.  Conventional Construction Parameters	10

Figure B-1.  Standoff Distance – Controlled Perimeter	11

Figure B-2.  Standoff Distance – No Controlled Perimeter	11

Figure B-3.  Parking and Roadway Control for Existing Building – Controlled Perimeter	12

Figure B-4.  Parking and Roadway Control for Existing Building – No Controlled Perimeter	12

1. General

The purpose of this document is to provide requirements to Contractors for any project requiring site layout design and construction.

2. Site Layout

The site layout defines building location, vehicular circulation and parking, pedestrian circulation, utility systems design, and physical security. It also includes the identification and evaluation of the site layout. Identification includes defining site specific goals and objectives, verifying the program requirements, developing functional relationships, defining spatial relationships, and providing an inventory of the area. Evaluation includes the development of a site analysis that graphically shows the developmental opportunities and constraints for the site. Alternative conceptual plans are developed for evaluation and a determination of a final site plan is accomplished. The resulting site layout provides the basis for the preparation of construction drawings. The design criteria discusses building design, location and orientation, vehicular circulation and parking, pedestrian circulation, surface water management, utility systems design, lighting design, landscape design, and physical security.

3. Building Location

The building location on the site may be determined by considering the following factors.

a) Dimensional Factors. Dimensional factors include the building dimensions or footprint and the following factors:

1)   Buffer Zones. Buffer zones provide setbacks and safety protection from airfield and helipad, explosive storage areas and storage and handling of hazardous materials. Additionally, buffer zones provide noise abatement and separation of incompatible land use or functions as well as physical security clearances.

2)   Spacing Requirements. Spacing between buildings and functions is normally determined by their functional relationships, operational efficiency, fire protection clearances, physical security requirements, parking requirements, future expansion requirements, and open space requirements.

b) Environmental Factors.  The location and condition of such elements as geology, soils, drainage, and vegetation may create areas that should be excluded from development because they are unbuildable for structural, economic or environmental reasons, they require protection or they require preservation.

c) Orientation Factors. Building location may be influenced by orientation to enhance energy conservation. Orientation to take advantage of or reduce the impact of prevailing winds and solar radiation should be considered when siting buildings.

d) Other Siting Factors. Other site-specific conditions can influence building alignment such as the ability to accomplish the mission, ability to minimize travel time and the ability to control access.

4. Vehicular Circulation

Circulation should promote safe and efficient movement of vehicles and pedestrians. Maintaining maximum separation of vehicles and pedestrians helps promote safety. Safe roadway circulation systems have a perceivable hierarchy of movement, lead to a clear destination and do not interrupt other activities. The road system should be planned to keep groupings of related functions reasonably close to each other and the interrelating land-use areas for maximum efficiency. Additionally, the road system should minimize on site travel and permit the optimum circulation of traffic originating both outside and

within the site.  The American Association of State Highway and Transportation Officials (AASHTO) places vehicles into two general classes: passenger cars and trucks. The passenger car class includes passenger cars, and light delivery trucks such as vans and pickups. The truck class includes single-unit trucks, recreation vehicles, buses, trucks semi-tractor trailer combinations, and trucks or truck tractors with semi-trailers in combination with full trailers. Roadway layout to provide the maneuverability and traffic safety required by the vehicles that utilize the roadways is necessary. Table 1 lists dimensions for some of the more common vehicles. Table 2 lists minimum turning radii for the same vehicles.

Table 1. Dimensions for Design Vehicles*

Table 2. Minimum Turning Radii for Design Vehicles*

*Information shown in Tables 1 and 2 is based on AASHTO 2004 Green Book.

Design site entrances and exits, services drives, and other areas with special requirements (e.g., parking lots or loading docks) to accommodate the largest vehicle that will use the facility. This procedure should assure that traffic safety will be accommodated.

a) Access Intersections.  Access intersections should be controlled to minimize the conflicts between through traffic on the main road and vehicles entering and exiting the site. Proper layout of access intersections may reduce conflicts between the traffic entering the site and the through traffic aon the main road. Points of conflict can be limited by the following:

Reducing the number of access drives to one (1) two-way drive or a pair of one-way drives for each site. Drives may be added to the site if the daily traffic volume exceeds 5,000 vehicles per day (both directions) or if traffic using one drive would exceed the capacity of a stop-sign-controlled intersection during the peak (highest) traffic hour.

Increasing the space between access intersections and between access intersections and roadway intersections. The correct spacing of access drives will promote safety for vehicular traffic. For arterial roads where access to the road is not limited, the minimum spacing between access roads should be 61 m (200 ft). Table 3 provides acceptable minimum spacing requirements when frontage along an arterial road is limited. Maintain a minimum spacing of 366m to 457m (1,200 to 1,500 ft) between a signaled drive and adjacent signaled intersection. If the signaled drive is a T-intersection, 183m (600 ft) is an acceptable minimum spacing when frontage is limited. Coordinate drive signals within 762m (2,500 ft) of adjacent signals. Maintain a minimum spacing of 10.5m to 15.5m (35 to 50 ft) on low-volume (5,000 vehicles per day), low-speed (48 kph (30 mph)) roads.

Table 3. Minimum Drive Spacing for Arterial Roads with Limited Access

Access drives near major intersections adversely affect traffic operations. They may result in unexpected conflicts with vehicles turning at the intersection. Maintain a minimum clearance of 15.2m (50 ft) between access drives and major intersections.

Provide adequate road width and length along the access drive at the intersection to channel vehicles smoothly into the proper lanes. Providing left-turn lane and right-turn and acceleration lane on the main roadway at the access drive.

b) Controlled Entrances. Controlled entrances are to be provided at the entrance to large complexes or secure facilities. Controlled entrances should contain a traffic island, gates and a way to have the

vehicles denied entrance to the site an exit without entering the site. The traffic island with curbs should be a minimum of 3.1 meters wide and shall be used to separate incoming and outgoing traffic. A gate

house may be provided within the area of the traffic island. The minimum throat length should be long

enough to accommodate stacking of vehicles entering and exiting the site without interfering with the traffic flow on adjacent roads. A pull-off area should be provided on the incoming traffic lanes for the close inspection of vehicles prior to entering the site.

c) Sight Distances. Provide safe sight distance for vehicles entering and exiting an access drive. This sight distance increases according to the design speed of the through road. The relationships of speed to sight distances are provided in Table 4.

Table 4. Minimum Sight Distance

When a safe sight distance cannot be met, the designer should consider methods to achieve adequate sight distance. Some methods of achieving adequate sight distance are the removal of sight

obstructions, the relocation of the access drive to a more favorable location along the access street or the relocation of the access drive to another access road.

5. Parking

Parking includes on-street parking, off-street parking lots, and parking structures. On-street parking will be limited to parallel parking spaces that include sufficient length and width to allow safe movement into and out of the space and to adequately separate the parked vehicle from the traffic lanes. All parking areas should be within close walking distance of the building that they serve. A recommended minimum

6.1m (20-ft) wide buffer strip should be provided to separate parking areas from adjacent streets. In areas of limited space provide a minimum distance of 2.4m may be provided.

Off-street parking lots are the principal means of parking on installations. A 90-degree parking layout is preferable. Where a fast rate of turnover is expected or where required by site limitations, a 45-degree or

60-degree angle layout may be used. Design of 90-degree parking lot layout will provide regular parking with dimensions of 2.74m x 6.71m and accessible automobile parking spaces with dimensions of 2.43m x 6.71m and Van accessible spaces with dimensions of 3.35m x 6.71m and with an access aisle of 1.52 m wide located between accessible parking spaces. Such features as curb cuts and access aisles for barrier-free access to sidewalks should be included for handicapped access. The maintenance of two-way traffic in parking lots is encouraged. Dead end parking lots should be avoided. Provide more than one entrance and exit for parking lots with more than 100 parking spaces. Curbs or a painted line at the end of parking stalls should be used to control placement of vehicles. Provide adequate walkway width to allow comfortable pedestrian movement in areas of bumper overhang. The minimum turning radii should accommodate the largest vehicle expected to use the parking lot as identified in Table 2.

Locate islands at the ends of parking stalls and at the intersections of parking aisles. Medians may be placed between adjacent rows of parking stalls. The islands establish turning radii for vehicular movement and protect end stalls. Turning radii to be used is based upon the largest vehicle that will utilize the

parking lot. Include turning radii that is sufficient to allow safe traffic movement without conflicting with the island and/or curbing. Islands and medians can be partially or completely paved to service pedestrian traffic. Pedestrians tend to use circulation aisles, especially if medians are not generous and do not allow

for comfortable movement between vehicles. If the median is designed as a sidewalk, provide a width that

allows for pedestrian movement and vehicle overhang.

Landscaping in islands and medians should be considered to break up the expanse of impermeable and unshaded surface, provide a more pleasing visual and spatial appearance. When placing landscaping in islands or medians, the designer should consider the 1.07m motorist eye level viewing height when providing shrubs and small trees.

Grading of parking lots should maintain a relatively constant grade across the lot that includes no less than the minimum slope of one (1) percent required for positive drainage to properly direct drainage to swales or to drainage inlets. The maximum slope within a 90-degree parking space of five (5) percent from front to rear end of the vehicle and one and one-half (1 ½) percent from side to side. Provide a maximum slope within a 45-degree or 60-degree parking space of five (5) percent from front to rear end and one (1) percent from side to side. Islands and medians may be used to accommodate change in elevation between the access drive and parking areas or between different parking levels.

6. Pedestrian Circulation

Pedestrian circulation involves the movement of people by non-motorized means along sidewalks. Pedestrian circulation should be based on pedestrians' tendency to follow the most direct route when walking between two points. Sidewalk paths may be gridded, curvilinear or organic. Paths should incorporate required and anticipated access. All three systems provide functional access between facilities. Topography and vegetation can be used to direct movement and emphasize sight lines along paths.

A grid path system is composed of straight lines and right angles and tends to provide the most direct access between locations. The grid system is appropriate in formal landscapes and in areas with strong

architectural definition. A curvilinear path system is less formal and should be used to encourage pedestrian interaction with the landscape where direct access to facilities is not critical. Organic sidewalk systems are unique in that the sidewalk patterns are defined by the space outside of the sidewalk and therefore vary in width. Because of this, organic sidewalks are less formal and often respond to natural elements in the surrounding landscape.

The space required to accommodate pedestrian movement increases at the point of origin and destination, where movement slows. Pedestrian movement is also interrupted when people meet, gather, wait, or sit. In areas of pedestrian concentration (e.g., building entrances, drop-offs and small outdoor spaces between buildings), the space should be developed to accommodate these needs. General design techniques include widening walkways at the points of origin and destination and providing both shaded and sunny areas for people to congregate or sit on the edge or outside of the pedestrian flow.

Sidewalks should be provided with a smooth and hard surface such as concrete, asphalt or pavers. The minimum width of the sidewalk should be 1.2 meters.  As the amount of traffic increases on a sidewalk, the width should be adjusted accordingly. The grade of a sidewalk should follow the natural grade of the ground as nearly as possible. The longitudinal grade along the sidewalk should not be greater than about

5 percent and have a cross-slope not greater than 2 percent. Steps should be avoided if possible but will be used where the maximum longitudinal slope would otherwise be too great. Steps should be grouped together rather than spaced as individual steps. Where steps are required, consideration should be given to handicapped ramps to provide continuous handicapped accessability. Sidewalks should be separated from roads by a turfed area at least 0.6 meters wide for low speed roads. As the speed of the roadway increased, the separation distance between the sidewalk and the roadway should increase.

7. Utility System Design

Utility systems should minimize impact to the natural site while meeting basic economic and functional criteria. Utility corridors should be used to minimize environmental disturbance and simplify maintenance. These corridors should be located along a site's perimeter and not cross a site diagonally or indiscriminately because future realignment of existing systems will increase the costs of future development. Utilities should be placed underground wherever possible to avoid conflicts with

vegetation, provide protection from storm damage, and enhance the visual quality of the installation. To simplify maintenance, utility lines should not be placed under paved areas, but located at the back of the roadway curb. It is extremely important to determine the potential for future expansion and to allow for upgrading the system when locating utilities. Utility transformers and transclosures for underground utilities shall be located to ensure ease of access for maintenance but not obstruct site primary visual relationships. They should be located with adequate setbacks from vehicular circulation and parking areas.

a) Utility Separation.  Water mains should have a minimum horizontal clearance of 3.05 meters from any point of an existing or proposed sanitary sewer or storm drain line. Water mains and sanitary sewers must not be installed in the same trench. If any condition prevents a horizontal separation of 3.05 meters, a minimum horizontal separation of 1.80 meters can be allowed with the bottom of the water main a minimum of 0.30 meters above the top of the sanitary sewer line. Where water mains and sanitary

sewers follow the same roadway, they will be installed on opposite sides of the roadway, if possible. Where water mains and sewer lines cross, the sewer line will have no joints within 0.91 meters of the water main unless the sewer line is encased in concrete for a distance of at least 3.05 meters each side

of the crossing. If conditions dictate that a water main be laid under a gravity sewer, the sewer pipe will

be fully encased in concrete for a distance of 3.05 meters each side of the crossing or will be made of pressure pipe with no joint located within 0.30 meters horizontally of the water main. Pressure sewer pipe will always cross beneath water pipes with a minimum vertical distance of 0.60 meters between the

bottom of the water pipe and the top of the pressure sewer pipe.

8. Physical Security

Operational, logistic, and security requirements must be integrated into the overall design of buildings, equipment, landscaping, parking, roads, and other features. The most cost-effective solution for mitigating explosive effects on buildings is to keep explosives as far as possible from them. Standoff distance must be coupled with appropriate building hardening to provide the necessary level of protection. The following standards detail standoff distances that when achieved will allow for buildings to be built with minimal additional construction costs. Where these standoff distances cannot be achieved because land is unavailable, these standards allow for building hardening to mitigate the blast effects.

B-1.1 Standard 1. Standoff Distances. The standoff distances apply to all new and existing (when triggered) DoD buildings required to comply with these standards. They address standoff distances to controlled perimeters, parking areas, roadways, and trash containers. The standoff distances are presented in Tables B-1 and B-2 and illustrated in Figures B-1 and B-2 for new buildings and Figures B-3 and B-4 for existing buildings.

Where the standoff distances in the “Conventional Construction Standoff Distance” columns of Tables B-1 and B-2 can be met, conventional construction for the applicable building walls may be used for the buildings without a specific analysis of blast effects, except as otherwise required in these standards. Windows and doors must be designed for the applicable standoff distances except where otherwise established in these standards. Roofs do not need to be analyzed where the standoff distances for roofs in Table B-2 are met and where they are within the ranges of one of the roof construction types in Table B-3. \1\ Types of construction not shown in Table B-3 may be permissible subject to validation by the designer of record /1/.

Where conventional construction standoff distances are not available, lesser standoff distances may be validated through analysis that verifies the applicable level of protection is met, but none may be closer than the minimum standoff distances except as allowed in these standards for existing buildings. Note that regardless of standoff distance, where buildings are three stories or more, the progressive collapse provisions must be applied.

Table B-1. Standoff Distances for New and Existing Buildings

Table B-2. Conventional Construction Standoff Distances

Table C-1. Conventional Construction Parameters

Table C-3. Conventional Construction Parameters

Figure B1. Standoff Distance – Controlled Perimeter

Figure B2. Standoff Distance – No Controlled Perimeter

Figure B3. Parking and Roadway Control for Existing Buildings - Controlled Perimeter

Figure B4. Parking and Roadway Control for Existing Buildings - No Controlled Perimeter

B-1.1.1 Conventional Construction Standoff Distance.

In previous versions of these standards conventional construction standoff distances applied to all conventional construction types and only varied based on the applicable level of protection and explosive weight. In this revision of the standards standoff distances vary based on the specific construction of the walls, on whether they are load bearing or non-load bearing, by level of protection, and by explosive weight.

The specific construction types upon which the standoff distances are based are indicated in Table B-2 and detailed descriptions of their design parameters are tabulated in Table C-3. The separate conventional construction standoff distances columns in Table B-1 for load bearing and non-load bearing wall construction reflect the fact that the damage allowed to load bearing construction is less than that allowed to non-load bearing construction for the same level of protection as explained in PDC Technical Report 06-08. The standoff distances in those columns lead to entries in Table B-2 where specific standoff distances are tabulated for different construction types. Note that the conventional construction standoff distance columns in Table B-2 are limited to walls because the walls in that table always controlled the conventional construction standoff distance over any of the roofs indicated in Table C-3. Walls and roofs of construction other than those included in Table C-3 must be designed to provide the applicable response described in Table C-1 and detailed in PDC Technical Report 06-08.

Conventional construction standoff distances do not apply to windows and doors. Windows and doors must be designed in accordance with Standards 10 and 12 to provide the applicable levels of protection. \1\ For some wall types the conventional construction standoff distances will require window and door construction that is significantly heavier and more expensive than windows and doors designed at the conventional construction standoff distances in previous versions of these standards /1/. Planners and designers will have to analyze tradeoffs between wall standoff and window and door construction. \1\ Those tradeoffs will generally need to be analyzed when standoff distances are less than 82 feet (25 meters) for Explosive Weight I and 33 feet (10 meters) for Explosive Weight II /1/. There are tools in UFC 4-020-01 that can assist in evaluating those tradeoffs.

B-1.1.2 Minimum Standoff Distance.

Minimum standoff distance is the smallest permissible standoff distance allowed for a building required to comply with these standards regardless of any analysis results or hardening of the building that would allow for a closer standoff distance, except as established below for existing buildings. Note that achieving the minimum standoff distance generally requires a significant degree of building component hardening; therefore, where only the minimum standoff distance is provided there must be analysis results that show it can be achieved while still providing the required level of protection.

For new buildings, standoff distances of less than those shown in the “Minimum Standoff Distance” column in Table B-1 are not allowed.

For existing buildings, the standoff distances in the “Minimum Standoff Distance” column of Table B-1 will be provided except where doing so is not possible. In those cases, lesser standoff distances may be allowed where the required level of protection can be shown to be achieved through analysis or can be achieved through building hardening or other mitigating construction or retrofit as described in these standards.

B-1.1.3 Distances Between Conventional and Minimum Standoff Distances.

Where the conventional construction standoff distances are not available, an engineer experienced in blast-resistant design must analyze the building and apply building hardening as necessary to mitigate the effects of the applicable explosives indicated in Table B-1 at the achievable standoff distance to the appropriate level of protection. The appropriate levels of protection for each building category are shown in Table B-1 and are described in Table C-1 and in UFC 4-020-01. Detailed design parameters for meeting the levels of protection are in PDC Technical Report 06-08. Where buildings within controlled perimeters are located closer than the conventional construction standoff distances for both Explosive Weights I and II, building components must be evaluated for both explosive weights at their applicable standoff distances to determine which controls the designs. Buildings will be designed for fully reflected blast pressures except where it can be proven that a wall could never be exposed to reflected pressures. Windows and doors are covered separately in Standards 10 and 12.

B-1.1.4 Inhabited Buildings Partially Exempt from Standard 1.

Where buildings are exempt from parking and roadway standoff distance provisions of this standard in accordance with Chapter 1, any of the walls in Table C-3 may be used without analysis regardless of the actual standoff distances to parking and roadways. Exterior masonry walls, if used, must still comply with Standard 9.

B-1.1.5 Controlled Perimeter Standoff Distance.

Measure the standoff distance from the controlled perimeter to the closest point on the building exterior or inhabited portion of the building or to specific building components.

B-1.1.6 Parking and Roadways Standoff Distances.

Standoff distances between parking and roadways and buildings required to comply with these standards will be less where they are within a controlled perimeter than where there is no controlled perimeter. That is based on the assumption that where there is a controlled perimeter larger vehicle bombs will be detected and kept from entering it. Where there is a controlled perimeter, the standoff distances and explosive weight associated with parking and roadways within a controlled perimeter in Table B-1 apply.

If there is no controlled perimeter, assume that the larger explosive weights upon which the controlled perimeter standoff distances are based (Explosive Weight I from Table B-1) can access parking and roadways near buildings. Therefore, where there is no controlled perimeter, use standoff distances to parking and roadways and the explosive weight associated with Parking and Roadways without a Controlled Perimeter in Table B-1.

Measure the standoff distance from the closest edge of parking areas, driving lanes within parking areas, and roadways to the closest point on the building exterior or inhabited portion of the building or to specific building components. In addition, the following apply:

B-1.1.6.1 New Buildings.

None of the operational options that are allowed for existing buildings within this standard will be allowed to be applied for new construction. The minimum standoff distance for all new buildings required to comply with these standards regardless of hardening or analysis is that indicated in Table B-1 for both parking areas and roadways, whether parking is allowed on the roadways or not.

B-1.1.6.2 Existing Buildings.

Where possible, move parking and roadways away from existing buildings required to comply with these standards in accordance with the standoff distances and explosive weights in Table B-1. It is recognized, however, that moving existing parking areas and roadways or applying structural retrofits may be impractical in some cases; therefore, the following operational options are provided for existing buildings required to comply with these standards:

a. Controlled Parking Areas.

Controlled parking associated with existing buildings may be allowed to be as close as the minimum standoff distance in Table B-1 without hardening or analysis if access control (see definition in glossary) to the parking area is established at the applicable conventional construction standoff distance for parking in Table B-1.

In cases where the applicable level of protection can be provided (based on hardening or analysis) with a standoff distance between the conventional construction standoff distance and the minimum standoff distance, uncontrolled parking may be allowed at the standoff distance at which the level of protection can be achieved subject to the requirements below, but not closer than the minimum standoff distance in Table B-1.

To mitigate the introduction of hand delivered explosives into the controlled parking areas in violation of the unobstructed space standard (Standard 2), controlled parking areas will have some means to control pedestrian access as well as vehicular access, such as fencing or walls

b. Parking Within a Controlled Perimeter.

The applicable conventional construction or minimum standoff distance at which access will be controlled will be based on the standoff distances for parking and roadways within a controlled perimeter in Table B-1 and illustrated in Figure B-3 for the applicable building category.

c. Parking Without a Controlled Perimeter.

The applicable conventional construction or minimum standoff distance at which access will be controlled will be based on the standoff distances for parking and roadways without a controlled perimeter in Table B-1 and illustrated in Figure B-4 for the applicable building category.

d. Driving Lanes within Parking Areas.

Where limited space necessitates, driving lanes within parking areas may be closer to existing buildings than parking spaces located at the required standoff distances, but vehicles may not be left unattended in those driving lanes. \1\ Standoff distance in these cases should be to the nearest parking space /1/. This is not allowed for new buildings required to comply with these standards.

e. Alternate Situations.

Parking may be closer to existing buildings than the minimum standoff distance where it is impractical to achieve that distance and where it can be shown through analysis that the required level of protection can be provided at the lesser standoff distance or if it can be provided through building hardening or other mitigating measures or retrofits designed for those standoff distances. Allowing any parking closer than the distances established in the paragraphs above should be avoided wherever possible, however.

f. Parking on Existing Roadways.

Parking along roadways is subject to similar standoff considerations as to other parking. Where there are existing roads adjacent to existing buildings required to comply with these standards, ensure there is no parking on those roadways closer than the conventional construction standoff distance unless the applicable level of protection can be provided (based on hardening or analysis) with a standoff distance between the conventional construction standoff distance and the minimum standoff distance. Parking along those roadways will not be closer than the minimum standoff distance under any circumstance. (Refer to Figures B-3 and B-4). Where parking along existing roadways adjacent to existing buildings can be controlled, parking may be allowed to be as close as the minimum standoff distance in Table B-1 without hardening or analysis.

g. Parking for Existing High Occupancy Family Housing.

For existing high occupancy family housing within a controlled perimeter or where there is access control to the parking area, parking within the required standoff distances may be allowed where designated parking spaces are assigned for specific residents or residences. Do not label assigned parking spaces with names or ranks of the residents, however. Where the existing standoff distances are less than the required standoff distances (conventional construction or minimum in accordance with Tables B-1 and B-2) do not encroach upon those existing standoff distances with any additional parking. Parking closer than the minimum standoff distance in Table B-1 should be avoided, however.

B-1.1.7 Parking of Emergency, Command, and Operations Support Vehicles.

Emergency and command vehicles, as well as operations support vehicles may be parked closer to buildings required to comply with these standards than allowed in Tables B-1 and B-2 without hardening or analysis if access to the vehicles is continuously controlled or as long as they are never removed from a restricted access area. Command and operations support vehicles may not be parked closer than the applicable minimum standoff distance in Table B-1. In addition, where standard operation of buildings includes parking emergency vehicles inside them, such as in fire stations, those emergency vehicles may be parked inside the buildings.

B-1.1.8 Parking of Mobile Ground Tactical Platforms.

Where operational requirements require parking mobile ground tactical platforms containing non-removable sensitive compartmented information systems adjacent to buildings required to comply with these standards, ensure those parking areas are surrounded by a 6 foot (2 meter) chain link security topped by a single outrigger with three-strands of barbed wire and that access to those parking areas is controlled so that the vehicles cannot be accessed without the access being detected.

B-1.1.9 Parking for Handicapped Personnel.

Parking for handicapped personnel will not be located closer than the standoff distances necessary to meet these standards.

B-1.1.10 Parking and Roadway Projects.

Where practical, all roadway and parking area projects not associated with a building renovation, modification, repair, or restoration requiring compliance with these standards should comply with the applicable conventional construction standoff distances in Tables B-1 and B-2from existing inhabited buildings. Where parking areas that are within the standoff distances in Tables B-1 and B-2 from such existing buildings are being constructed, expanded, or relocated, those parking areas should not encroach on the existing standoff distances of any existing inhabited building unless it can be shown that the building can provide the appropriate level of protection that would apply if the building were required to comply with these standards. \1\ Parking and roadway projects will not be located closer than the applicable minimum standoff distances /1/.

If roadway projects include road widening or encroachment on existing standoff distances is otherwise unavoidable, ensure there are operational procedures in place to prohibit parking on the roadways within those standoff distances as described in the paragraph above entitled “Parking and Roadways Standoff Distance, subparagraph entitled “Existing Buildings”, letter ”f – Parking on Existing Roadways”.

Driving lanes within parking areas may be allowed to be closer to existing buildings than the closest parking spaces where limited space necessitates, but vehicles may not be left unattended in those driving lanes. Parking and driving lanes closer than the minimum standoff distance in Table B-1 must comply with the paragraph above entitled, “Minimum Standoff Distance”.

B-1.1.11 Standoff to Entry Control Facilities/Access Control Points.

For the purposes of this standard, standoff distances from buildings to Entry Control Facilities/Access Control Points will be measured from the identification check area to the closest point on the building exterior or inhabited portion of the building or to specific building components.

B-1.1.12 Location of Trash Containers.

For buildings that are required to comply with these standards, provide standoff distances from the nearest points of trash containers or trash container enclosures to the closest points on the building exteriors or inhabited portions of the buildings or to specific building components in accordance with the conventional construction standoff distance from trash containers in Tables B-1 and B-2. Where the applicable conventional construction standoff distance is not available, analyze the building and apply building hardening as necessary to mitigate the effects of the explosives indicated for trash containers in Table B-1 at the achievable standoff distance to the appropriate level of protection.

Alternatively, harden trash enclosures to mitigate the direct blast effects and secondary fragment effects of the explosive on the building if the applicable level of protection can be proven by analysis or testing.

As an additional alternative, if trash containers or enclosures are secured to preclude introduction of objects 6-inches (150 mm) or greater in height or width into them by unauthorized personnel, they may be located closer to the building as long as they do not violate the unobstructed space provisions of Standard 2. Openings in screening materials and gaps between the ground and screens or walls making up an enclosure must not be greater than 6 inches (150 mm).

B-1.1.13 Adjacent Existing Buildings.

Where projects for new and existing buildings designed in accordance with these standards include locating parking, roadways, or trash containers near existing inhabited buildings that are not required to meet these standards, the standoff distances from parking, roadways, and trash containers to the buildings that are not required to comply with these standards should comply with the applicable standoff distances in Tables B-1 and B-2.

Where those standoff distances are not available, do not allow parking and roadways to encroach on existing standoff distances to parking and roadways associated with those existing buildings \1\ unless it can be shown that the building can provide the appropriate level of protection that would apply if the building were required to comply with these standards /1/.

The encroachment provision above applies only to parking and roadways. Do not allow trash containers associated with new or existing buildings being designed to comply with these standards to be located closer to existing inhabited buildings that are not required to meet these standards than the applicable standoff distances in Tables B-1 and B-2.

B-1.2 Standard 2. Unobstructed Space.

It is assumed that aggressors will not attempt to place explosive devices in areas near buildings where those explosive devices could be visually detected by building occupants observing the area around the building. Ensure there are unobstructed spaces in which there are no obstructions or building features that might allow for concealment from observation of explosive devices 6 inches (150 mm ) or greater in height or width around buildings and underneath building overhangs or breezeways. This does not preclude the placement of site furnishings or plantings around buildings.

It only requires conditions such that any explosive devices placed in the unobstructed spaces would be observable by building occupants either from within the buildings or as they walk into or around it. \1\ For trees or shrubs ensure that no foliage extends lower than 3 feet (1 meter) above the grounds to improve observation of objects underneath them /1/.

Where buildings required to meet these standards are located within controlled perimeters, the unobstructed space will extend out to the applicable conventional construction standoff distance to walls for parking and roadways within a controlled perimeter in accordance with Tables B-1 and B-2, but not less than the minimum standoff distance. \1\ If the standoff distance required to provide the applicable performance of windows or doors is greater than the conventional construction standoff distance, the unobstructed space will extend to the applicable window or door distance /1/. Alternatively, for distances between the conventional construction standoff distance and the minimum standoff distance, standoff distances may be validated through analysis that verifies the applicable level of protection is met based on mitigating the effects of Explosive Weight II at the distance between the location of the explosive and the area of the building being protected. For existing buildings where the standoff distances for parking and roadways have been established at less than the minimum standoff distance in accordance with the paragraph in Appendix B, entitled, “Minimum Standoff Distance”, the unobstructed space may be reduced to be equivalent to those distances.

Where buildings are not located within a controlled perimeter, the unobstructed space will be established based on the applicable standoff distances for Explosive Weight II, regardless of the parking and roadway standoff distances required in the absence of a controlled perimeter. The applicable standoff distances may either be the conventional construction standoff distances or standoff distances established through analysis, but not less than the minimum standoff distance,

B-1.2.1 Controlled Parking.

Where controlled parking associated with existing buildings has been allowed in accordance with the paragraph above entitled “Parking and Roadways Standoff Distance, subparagraph entitled “Existing Buildings”,, letters ”a – Controlled Parking Areas” and “g – Parking for Existing High Occupancy Family Housing”, the unobstructed space will be considered to extend to the limits of those parking areas where access is controlled. To mitigate the introduction of hand delivered explosives into the controlled parking areas those areas will have some means to control pedestrian access as well as vehicular access, such as fencing or walls. \1\ Fences or walls will be a minimum of 6 feet (2 meters) high. Specific fence, wall, and access control requirements will be coordinated with physical security and antiterrorism personnel /1/.

B-1.2.2 Electrical and Mechanical Equipment.

The preferred location for electrical and mechanical equipment such as transformers, air-cooled condensers, and packaged chillers is outside the unobstructed space or on the roof. This standard, however, does not preclude placement within the unobstructed space as long the equipment provides no opportunity for concealment of explosive devices with heights of 6 inches (150 mm) or greater or the equipment is secured to prevent concealment of the devices.

B-1.2.3 Equipment and Trash Container Enclosures.

If walls or other screening devices with more than two sides are placed around trash containers that have been secured, hardened, or located in accordance with the paragraph above, entitled, “Location of Trash Containers” or around electrical, mechanical, or other equipment within the unobstructed space, enclose the trash containers or equipment on all four sides and the top. Openings in screening materials and gaps between the ground and screens or walls making up an enclosure will not be greater than 6 inches (150 mm). Secure any surfaces of the enclosures that can be opened so that unauthorized personnel cannot gain access through them. Where opaque top enclosures are provided, they will have a pitch of at least 1 vertical to 2 horizontal to increase visibility of objects thrown onto them and to increase the likelihood that the objects will slide off. Alternatively, if the vertical surfaces of the enclosures are transparent and at least 7 feet (2.1 meters) high, a top enclosure is not required.

B-1.2.4 Fuel Tanks.

Fuel tanks may be located within unobstructed spaces if they do not provide opportunities for concealment of explosives as described above. Standoff distances from buildings for fuel tanks are based on flammability (not explosive equivalence); therefore, they should be determined using NFPA 30.

B-1.2.5 Parking Within Unobstructed Spaces.

Parking will not be allowed within unobstructed spaces except for parking of emergency, command, and operations support vehicles and mobile ground tactical platforms.

B-1.2.6 Adjacent Existing Buildings.

Where projects for new and existing buildings designed in accordance with these standards are located near existing inhabited buildings that are not required to meet these standards, ensure that the unobstructed spaces for buildings that must comply with the standards are maintained between those buildings and other existing buildings. If there are opportunities for concealment in the spaces around the other existing buildings those spaces should be modified to ensure fully compliant unobstructed spaces around the buildings that must comply.

B-1.2.7 Adjacent Uncontrolled Public Space.

Where there are uncontrolled public spaces below, above, or beside building areas that are occupied by DoD, it shall be considered that explosives equivalent to explosive weight II may be located in those spaces and the spaces occupied by DoD should be designed to ensure that they meet the applicable level of protection.

B-1.3 Standard 3. Drive-Up/Drop-Off Areas.

Some facilities require access to areas within the required standoff distances for dropping off or picking up people or loading or unloading packages and other objects. Examples that may require drive-ups or drop-offs include, but are not limited to, medical facilities, exchanges and commissaries, and schools. In these cases, standoff distances will be measured to the nearest legal parking spaces, not the drive-ups or drop-offs. No building hardening will be required to compensate for the closer standoff distances associated with the drive-ups or drop-offs. This standard also applies to drive-through lanes such as those at standalone franchised food operations.

B-1.3.1 Marking.

Where operational or safety considerations require drive-up or drop-off areas or drive-through lanes near buildings required to comply with these standards, ensure those areas or lanes are clearly defined and marked in accordance with the Manual on Uniform Traffic Control Devices and that their intended use is clear to prevent parking of vehicles in those areas.

B-1.3.2 Unattended Vehicles.

Do not allow unattended vehicles in drive-up or drop-off areas or drive-through lanes. Prohibit unattended vehicles within conventional construction standoff distances in accordance with Tables B-1 and B-2 or ensure through analysis that buildings can provide the appropriate level of protection at lesser standoff distances. Unattended vehicles may never be allowed closer than the minimum standoff distance.

B-1.3.3 Location.

Do not allow drive-through lanes or drive-up/drop-off areas to be located under any inhabited portion of any new building. \1\ For existing buildings that have drive-through lanes or drive-up areas, either eliminate them or design the buildings to provide the applicable level of protection for the applicable explosive weight located underneath the portion of the building accessed by the drive-through or drop-off /1/.

B-1.4 Standard 4. Access Roads.

Where access roads are necessary for the operation of buildings required to comply with these standards (including those required for emergency access and/or security operations), ensure that access control measures are implemented to prohibit unauthorized vehicles from using access roads within the applicable standoff distances in Tables B-1 and B-2. Because situations at various buildings and installations are different, the development of specific access control measures and procedures is beyond the scope of these standards. That is left to local physical security personnel.

B-2 STRUCTURAL DESIGN.

If the conventional construction standoff distances are achieved, conventional construction should minimize the risk of mass casualties from a terrorist attack. Even if those standoff distances can be achieved, however, incorporate the following additional structural measures into building designs to ensure that buildings do not experience progressive collapse or otherwise experience disproportionate damage.

B-2.1 Standard 6. Progressive Collapse Resistance.

Progressive collapse is considered to be a significant risk for buildings of three or more stories. Basements and penthouses will be considered stories if there is any space that is designed for human occupancy and that is equipped with means of egress as well as light and ventilation facilities that meet the local building code requirements as detailed in UFC 4-023-03. For all new and existing DoD buildings of three stories or more required to comply with these standards, regardless of the standoff distance provided, follow the requirements in UFC 4-023-03 Design of Buildings to Resist Progressive Collapse. Design the superstructures to sustain local damage with the structural systems remaining stable without being damaged to extents disproportionate to the original local damage.

B-2.1.1 Progressive Collapse Avoidance Design Requirements.

Follow the design guidance in UFC 4-023-03 for new and existing DoD Buildings to reduce the potential for progressive collapse due to localized structural damage due to unforeseeable events. For inhabited buildings, primary gathering buildings, billeting, and high occupancy family housing, apply the requirements for occupancy category II or higher. UFC 3-301-01 defines occupancy categories for numbers of occupants and different types of occupancies. The design requirements in UFC 4-023-03 are related to those occupancy categories.

B-2.1.2 Uncontrolled Public Access.

UFC 4-023-03 requires interior columns and/or walls to be evaluated for progressive collapse where there is underground parking or other uncontrolled public access. For the purposes of this standard and for applying the provisions of UFC 4-023-03, access control at controlled perimeters will not normally be considered to establish sufficient positive access controls for buildings within those perimeters to be considered to have controlled public access. For the purposes of this standard, positive access control will be considered to include (but not be limited to) electronic access control on all exterior doors. Where visitor processing makes locking visitor entrances during building operating hours impractical, providing personnel to control visitor access can be considered positive control at those entrances. Controlled public access to individual buildings or groups of buildings should be coordinated with local physical security policies and procedures.

B-2.2 Standard 7. Structural Isolation.

B-2.2.1 Building Additions.

Design all building additions that are required to comply with these standards to be structurally independent from the adjacent existing buildings. This will minimize the possibility that collapse of one part of a building will affect the stability of the remainder of the building. Alternatively, verify through analysis that collapse of either the addition or the existing building will not result in collapse of the remainder of the building. Structural isolation is not necessary if the existing buildings have been designed in accordance with these standards (including previous versions).

B-2.2.2 Portions of Buildings.

Low occupancy portions of inhabited buildings required to comply with these standards will be designed to ensure their superstructures are structurally independent from the inhabited portions of the buildings. This will minimize the possibility that collapse of low occupancy areas of buildings will affect the stability of the superstructure of the inhabited portions of buildings.

Alternatively, verify through analysis that collapse of low occupancy portions of buildings will not result in collapse of any portion of buildings covered by these standards or show that the low occupancy portions of buildings meet the standoff distance and unobstructed space requirements for inhabited buildings in accordance with Standards 1 and 2 and that they are not built using unreinforced masonry in accordance with Standard 9. This standard is not mandatory for existing structures, but it should be implemented where possible.

This standard will only apply to separations between inhabited portions of buildings (including primary gathering) and low occupancy portions of buildings. It will not be applied to separate inhabited areas of buildings that do not meet the definition of primary gathering from those that do meet the primary gathering definition. Where buildings have both inhabited occupancies and primary gathering occupancies, the entire inhabited portion of the building will be considered to be primary gathering.

B-2.2.3 Standard 8. Building Overhangs and Breezeways.

For all buildings required to comply with these standards, avoid building overhangs and breezeways with inhabited spaces above them where people could gain access to the areas underneath the overhangs. Where such overhangs or breezeways must be used, incorporate the following measures.

B-2.2.4 Parking and Roadway Restrictions.

Ensure that there are no roadways or parking areas under overhangs or breezeways. In the case of existing buildings, roadways that cannot be abandoned or relocated may be controlled to ensure vehicles do not park underneath the overhang or breezeway.

B-2.2.5 Building Elements.

Ensure the areas underneath the overhangs or breezeways are clear of any obstructions that could allow for concealment from observation of explosive devices 6 inches (150 mm) or greater in height or width in accordance with the provisions of the unobstructed space requirements of Standard 2. The areas underneath the overhangs or breezeways can be considered to be extensions of the surrounding unobstructed spaces. Ensure that any external building elements, including walls, doors, windows, and floors of overhangs or ceilings of breezeways, provide the applicable level of protection against an explosive equivalent to Explosive Weight II in Table B-1 placed at the edge of the unobstructed space established by Standard 2.

B-2.3 Standard 9. Exterior Masonry Walls.

The following requirements apply to exterior walls of new and existing buildings required to comply with these standards:

B-2.3.1 New Buildings.

Unreinforced masonry walls are prohibited for the exterior walls of new buildings required to comply with these standards. All exterior masonry walls must have vertical and horizontal reinforcement distributed throughout the wall section. The vertical reinforcement ratio will be at least 0.05%, spaced no more than 4 feet (1200 mm) on center with reinforcement within 1.3 feet (410 mm) of the ends of walls. The horizontal reinforcement ratio must be at least 0.025%, consisting of either joint reinforcement spaced no more than 1.3 feet (410 mm) on center, or bond beam reinforcement spaced no more than 4 feet (1200 mm) on center, with reinforcement within 1.3 feet (410 mm) of the top and bottom of the wall. For new buildings, wood or metal studs that meet the analysis assumptions of Table C-3 may be considered to meet the provisions of this standard when used in conjunction with an otherwise unreinforced masonry wall. \1\ European masonry walls that are within the range of parameters in Table C-3 and PDC Technical Report 10-01 may be considered to meet the requirements of this standard /1/.

B-2.3.2 Existing Buildings.

For existing buildings where the conventional construction standoff distance for unreinforced masonry determined using Tables B-1 and B-2 is not provided, implement mitigating measures to provide the applicable level of protection as identified in Table C-1.

B-3 Standard 13. Mail Rooms and Loading Docks.

The following measures address the location of rooms to which mail \1\ or supplies /1/ are delivered or in which mail or supplies are handled in new and existing buildings required to comply with these standards. These standards need not be applied to mail rooms \1\ or loading docks /1/ to which mail or supplies are delivered that were initially delivered to a central mail or supplies handling facility. These standards should be applied to such mail rooms or loading docks where possible, however, to account for potential changes in mail or supplies handling procedures over the life of the building. The measures in this standard involve limiting collateral damage and injuries and facilitating future upgrades to enhance protection should it become necessary. This standard does not require the hardening of mail rooms or loading docks because the mail and supplies bomb threats are beyond the scope of these standards. Refer to UFC 4-020-01 where there is an identified mail or supplies bomb threat.

B-3.1 Location.

Where a new or existing building required to comply with these standards must have a mail room or a loading dock, locate that mail room or loading dock on the perimeter of the building. By locating the mail room or loading dock on the building perimeter there is an opportunity to modify it in the future if a mail or supplies bomb threat is identified. Where mail rooms or loading docks are located in the interiors of buildings, few retrofit options are available for mitigating the mail and supplies bomb threats. In addition, having mail rooms and loading docks on the building perimeter avoids situations where contaminated packages would be transported through the rest of the building.

B-3.2 Proximity.

Locate mail rooms and loading docks as far from heavily populated areas of buildings and from critical infrastructure as possible. This measure will minimize injuries and damage if a mail or supplies bombs detonate in mail rooms or loading docks. Further, it will reduce the potential for wider dissemination of hazardous agents. This applies where mail rooms or loading docks are not specifically designed to resist those threats.

B-4 Standard 14. Roof Access.

For all new and existing inhabited buildings required to comply with these standards, control access to roofs to minimize the possibility of aggressors placing explosives or chemical, biological, or radiological agents there or otherwise threatening building occupants or critical infrastructure.

B-4.1 New Buildings.

For new buildings eliminate all external roof access by providing access from internal stairways or ladders, such as in mechanical rooms.

B-4.2 Existing Buildings.

For existing buildings, eliminate external access where possible or secure external ladders or stairways with locked cages or similar mechanisms.

B-5 Standard 15. Overhead Mounted Architectural Features.

For all new and existing buildings required to comply with these standards, ensure that overhead mounted features weighing 31 pounds (14 kilograms ) or more (excluding distributed systems such as suspended ceilings that collectively exceed that weight) are mounted using either rigid or flexible systems to minimize the likelihood that they will fall and injure building occupants. Mount all such systems so that they resist forces of 0.5 times the component weight in any horizontal direction and 1.5 times the component weight in the downward direction. This standard does not preclude the need to design architectural feature mountings for forces required by other criteria such as seismic standards.

B-6 ELECTRICAL AND MECHANICAL DESIGN.

Electrical and mechanical design standards address protecting building occupants against falling equipment and chemical, biological, and radiological threats and notifying building occupants of threats or hazards.

B-6.1 Standard 16. Air Intakes.

Air intakes to heating, ventilating, and air conditioning (HVAC) systems that are designed to move air throughout a building that are at ground level provide an opportunity for aggressors to easily place contaminants where they could be drawn into buildings. The following measures will be applied to minimize those opportunities. \1\ The requirements of this standard do not have to be applied when air intakes are located within an enclosed mechanical equipment yard or similar area with access control such as an enclosed courtyard. Controlled perimeters will not be considered to meet the requirement of access control for the purpose of this standard /1/.

B-6.1.1 New Buildings.

For all new buildings required to comply with these standards locate all air intakes at least 10 feet (3 meters) above the ground.

B-6.1.2 Existing Buildings.

Add means such as exterior chimneys to extend the elevations of air intakes to at least 10 feet (3 meters) above the ground for all buildings that must comply with these standards.

B-6.1.3 HVAC Replacements and Upgrades.

\1\ Where air handling equipment in heating, ventilating, and air conditioning systems is being replaced or when they are being upgraded, ensure that air intakes are either 10 feet (3 meters) above the ground or that means such as chimneys are added to extend the intakes to that height. This will apply regardless of the major investment trigger in Chapter 1. /1/

B-6.1.4 Interior Walls and Doors in Equipment Rooms.

Where air intakes that are designed to cool equipment may allow blast pressures to infiltrate equipment rooms, design equipment room interior walls \1\ and doors /1/ to the same standards for blast resistance as the exterior walls \1\ and doors /1/ of buildings based on the standoff distance provided and allowing for blast pressure reductions where they can be validated.

B-6.2 Standard 17. Mail Room and Loading Dock Ventilation.

To ensure airborne chemical, biological, and radiological agents introduced into mail rooms and loading docks do not migrate into other areas of buildings in which the mail rooms and loading docks are located, provide separate, dedicated air ventilation systems for mail rooms and loading in buildings required to comply with these standards.

B-6.2.1 Other Heating and Cooling Systems.

Building heating and cooling systems such as steam, hot water, chilled water, and refrigerant may serve mail rooms as long as the airflow systems for the mail rooms and loading docks and other areas of the buildings in which they are located remain separate.

B-6.2.2 Dedicated Exhaust Systems.

Provide dedicated exhaust systems within mail rooms and loading docks to maintain slight negative air pressures (minimum of 0.05 inches of water [12.5 Pa]) with respect to the remainder of the buildings in which the mail rooms and loading docks are located so that the flow of air is into and contained in the mail rooms and loading docks. Though the airflow into the mail rooms and loading docks will not eliminate the potential spread of contamination by personnel leaving the mail room or the loading dock, it will limit the migration of airborne contaminants through openings and open doorways.

B-6.2.3 Outside Intakes, Relief, and Exhausts.

Provide mail room and loading dock ventilation system outside air intakes, relief air, and exhausts with low leakage isolation dampers that can be automatically closed to isolate the mail rooms and loading docks. The low leakage dampers will have maximum leakage rates of 3 cfm/square foot (15 liters/second/square meter) with a differential pressure of one inch of water gage (250 Pa) across the damper.

B-6.2.4 Isolation Controls.

Provide separate switches or methods of control to isolate mail rooms in the event of a suspected or actual chemical, biological, or radiological release in the mail room.

B-6.2.5 Walls and Ceiling Joints and Doors.

\1\ Mail room and loading dock walls will extend from true floor to true ceiling and all joints will be sealed. Doors between mail rooms and loading docks and inhabited areas of buildings will have gaskets or weather stripping to minimize leakage around the doors /1/.

B-6.3 Standard 18. Emergency Air Distribution Shutoff.

For all new and existing buildings required to comply with these standards, provide an emergency shutoff switch in the HVAC control system that can immediately shut down the air distribution \1\ and exhaust /1/ systems throughout the building \1\ and close all dampers leading to the outside /1/ except where interior pressure and airflow control would more efficiently prevent the spread of airborne contaminants and/or ensure the safety of egress pathways. \1\ Systems without duct connections to the outside (intake, exhaust or pressure relief) are exempt from that requirement. The switch must be capable of shutting down all required systems and closing all required dampers, even if the local hand/off/auto switch is in the hand position, within 30 seconds of switch activation /1/. Locate the shutoff switch (or switches) to be easily accessible by building occupants by locating them similarly to \1\ mass notification system (MNS) local operating consoles (LOC) (see UFC 4-021-01 for additional information on MNS LOCS) /1/ so that the travel distance to the nearest shutoff switch will not be in excess of 200 feet (61 meters). Ensure that the shutoff switches are well labeled, and of a different color than fire alarm pull stations.

B-6.3.1 Outside Air Intakes, Relief Air, and Exhausts.

Provide all outside air intakes, relief air, and exhaust openings with low leakage dampers that are automatically closed when the emergency air distribution shutoff switch is activated. The low leakage dampers will have maximum leakage rates of 3 cfm/square foot (15 liters/second/square meter) with a differential pressure of one inch of water gage (250 Pa) across the damper. If shutting down an exhaust system will violate building or fire codes or create an unsafe condition, then the exhaust system may continue to operate. For example, the installation of dampers in kitchen exhaust ductwork, where the dampers can become laden with grease, may be a violation of fire codes. Also, kitchen hood exhaust fans may have to continue to operate to avoid potential fire hazards.

B-6.3.2 Critical Areas.

Local air handing units serving critical areas where cooling and/or heating must be maintained to prevent mission failure, loss of data or unsafe conditions can continue to recirculate air, but outside air, relief air and exhaust must be closed with low leakage isolation dampers.

B-6.3.3 Fan Coil Unit Heaters and Air Conditioners.

Fan coil unit heaters and air conditioners do not require low leakage dampers, but for all new buildings required to comply with these standards, they must have a system that allows all of them to be shut off in an emergency. Emergency shutoffs for fan coil unit heaters and air conditioners are recommended, but not mandatory, for existing inhabited buildings required to comply with these standards.

B-6.3.4 HVAC Replacements and Upgrades.

\1\ Where air handling equipment in heating, ventilating, and air conditioning systems is being replaced or when they are being upgraded, all provisions of Standard 18 will be applied to the building in which the new HVAC system is being installed. This will apply regardless of the major investment trigger in Chapter 1. /1/

B-6.4 Standard 19. Equipment Bracing.

For all buildings required to comply with these standards mount all overhead utilities and other fixtures weighing 31 pounds (14 kilograms ) or more (excluding distributed systems such as piping networks that collectively exceed that weight) using either rigid or flexible systems to minimize the likelihood that they will fall and injure building occupants. Design all equipment mountings to resist forces of 0.5 times the equipment weight in any horizontal direction and 1.5 times the equipment weight in the downward direction. This standard does not preclude the need to design equipment mountings for forces required by other criteria such as seismic standards.

B-6.5 Standard 20. Under Building Access.

To limit opportunities for aggressors placing explosives underneath buildings, ensure that access to crawl spaces, utility tunnels, and other means of under building access is controlled in all buildings required to comply with these standards.

B-6.6 Standard 21. Mass Notification.

All buildings required to comply with these standards must have a timely means to notify occupants of threats and instruct them what to do in response to those threats. To achieve that goal, provide the following:

B-6.6.1 New Buildings.

New buildings must have a capability to provide real-time information to building occupants or personnel in the immediate vicinity of the building during emergency situations. The information relayed must be specific enough to determine the appropriate response actions. The information must be capable of being originated both locally at the building and from a remote location. Design these systems in accordance with UFC 4-021-01.

B-6.6.2 Existing Buildings.

For existing buildings, the above requirement is mandatory for primary gathering buildings, billeting, and high occupancy family housing, but recommended for other inhabited buildings.

9. As-Builts

Upon completion of installing the site features, The Contractor shall submit editable CAD format As-Built drawings. The drawing shall show the final product as it was installed in the field, with the exact dimensions, locations, materials used and any other changes made to the original drawings. Refer to Contract Sections 01335 and 01780A of the specific project for additional details.